LATRINE CHECKLIST TO ENSURE MINIMUM LEVEL OF PRIVACY AND SAFETY

Source: UNICEF

- Preparation of latrine construction

| Minimum requirements | Required actions | DONE? |
| --- | --- | --- |
| Ensure women’s and girls’ opinions are reflected in location and design of latrines to ensure privacy and safety | Women and girls are consulted on location of latrines, including safety of the routes to/from latrine |  |
|  | Women and girls are consulted how they manage their menstruation and how they dispose of materials |  |
|  | Women and girls are consulted on how to ensure privacy and safety of latrines in their context |  |
|  | Women’s and girls’ opinions are reflected to the location and design of latrines |  |

- Structure

| Minimum requirements | Options for required actions*** | DONE? |
| --- | --- | --- |
| Enclosed defecation fields |  |  |
| Provide privacy in defecation fields | Barrier screen with offset entrance |  |
|  | Consult women and girls if there are additional ways to enhance their privacy and safety at the structure |  |
| Ensure structures for males and females are separate and clearly marked | Separate defecation fields for men & women. Signs with pictures and writing in the appropriate language to indicate the male / female structures are posted immediately upon opening the structure |  |
| Emergency trench latrines with simple structure |  |  |
| Ensure the latrine can be fastened from inside | One side of flap door nailed to post |  |
|  | Nail with string attached to the flap door to latch flap from the inside |  |
| Ensure privacy in the latrine | Barrier screen with offset entrance |  |
|  | Weight on bottom of flap stop wind from blowing the door open |  |
|  | Consult women and girls if there are additional ways to enhance their privacy and safety at the structure |  |
| Ensure sex-segregated facilities are provided and are clearly marked. | Separate blocks for men and women clearly marked |  |
|  | Entrances on opposite sides |  |
|  | If male and female stalls cannot be in separate blocks, use a hard surface (metal or wood) as a barrier wall between male and female stalls |  |
| Shared block latrines with solid superstructure |  |  |
| Ensure latrine is lockable from inside | Solid doors with solid slide locks on the inside |  |
| Ensure privacy in the latrine | Barrier screen with offset entrance |  |
|  | Determine if there is any other way to prevent anyone from seeing inside the latrine (consult girls and women how best you can ensure their privacy) |  |
| Ensure sex-segregated facilities are provided and are clearly marked | Separate blocks for men & women clearly marked |  |
|  | Entrances on opposite sides |  |
|  | Metal separation wall between male and female stalls |  |

**These are only some options to implement the minimum requirements - the specific solutions required to satisfy minimum requirements will be different according to the local context.

Suitable solutions must be identified in consultation with girls and women.

- Management

| Minimum requirements | Required actions | DONE? |
| --- | --- | --- |
| Ensure latrines are managed safely for women and girls | Ensure at least 50% of latrine attendants/volunteers are female |  |
|  | Ensure ALL latrine attendants/volunteers are trained on and have signed the Code of Conduct |  |
| Ensure sex-segregation | If signage has disappeared or been erased for any reason, take immediate action to replace signage at the latrine |  |
|  | Undertake community outreach to explain to communities which latrines are for women and for men |  |
|  | Identify the best way to maintain sex-segregation (discourage men from using women’s latrines) with community members |  |